## Sheet1
base_phased.dss old name | Reference load shape | Existing gen | microgrid json | New name
new object=load.671_hospital bus1=671.1.2.3 phases=3 conn=delta model=1 kv=2.4 kw=1155 kvar=660 | hospital |  | m3 | 671_command_center
new object=load.634a_supermarket bus1=634.1 phases=1 conn=wye model=1 kv=0.277 kw=160 kvar=110 | supermarket | solar_634_existing | m1 | 634a_data_center
new object=load.634b_supermarket bus1=634.1 phases=1 conn=wye model=1 kv=0.277 kw=120 kvar=90 | supermarket | solar_634_existing | m1 | 634b_radar
new object=load.634c_supermarket bus1=634.1 phases=1 conn=wye model=1 kv=0.277 kw=120 kvar=90 | supermarket | solar_634_existing | m1 | 634c_atc_tower
new object=load.645_warehouse1 bus1=645.2 phases=1 conn=wye model=1 kv=2.4 kw=170 kvar=125 | warehouse |  | m4 | 645_hangar
new object=load.646_med_office bus1=646.2 phases=1 conn=delta model=2 kv=2.4 kw=230 kvar=132 | medium office |  | m4 | 646_office
new object=load.692_warehouse2 bus1=692.1.2.3 phases=3 conn=delta model=5 kv=2.4 kw=170 kvar=151 | warehouse |  |  | 692_warehouse2
new object=load.675a_hospital bus1=675.1.2.3 phases=3 conn=wye model=1 kv=2.4 kw=485 kvar=190 | hospital |  | m2 | 675a_hospital
new object=load.675b_residential1 bus1=675.1.2.3 phases=3 conn=wye model=1 kv=2.4 kw=68 kvar=60 | medium apartment |  | m2 | 675b_residential1
new object=load.675c_residential1 bus1=675.1.2.3 phases=3 conn=wye model=1 kv=2.4 kw=290 kvar=212 | medium apartment |  | m2 | 675b_residential1
new object=load.611_hotel bus1=611.3 phases=1 conn=wye model=5 kv=2.4 kw=170 kvar=80 | hotel |  |  | 611_runway
new object=load.652_med_apartment bus1=652.3 phases=1 conn=wye model=2 kv=2.4 kw=128 kvar=86 | medium apartment |  | m3 | 652_residential
new object=load.670a_residential2 bus1=670.1 phases=1 conn=wye model=1 kv=2.4 kw=17 kvar=10 | medium apartment |  |  | 670a_residential2
new object=load.670b_residential2 bus1=670.2 phases=1 conn=wye model=1 kv=2.4 kw=66 kvar=38 | medium apartment |  |  | 670a_residential2
new object=load.670c_residential2 bus1=670.3 phases=1 conn=wye model=1 kv=2.4 kw=117 kvar=68 | medium apartment |  |  | 670a_residential2
|  | diesel_684_existing | m3